## Slide 1: Alignment of the PHENIX Silicon Vertex Tracker (VTX) in 2014
Yasuyuki Akiba
Takashi Hachiya
Hidemitsu Asano
Taebong Moon
Yonsei Univ./RIKEN
Nov. 27th 2014

## Slide 2: Motivation of the alignment
Alignment:
  Equalizing the expected detector position to the installed position.
Mis-alignment:
  will degrade quality of measurement.
    ex) DCA, pT, invariant mass, primary vertex and etc..
  can lead to ineffective/wrong physical conclusion.
Distance of Closest Approach
(DCA2D)
x
y
Reconstructed track
Primary vertex
Real particle track

## Slide 3
PHENIX detector
Drift Chamber (DC)
- Charged paritcle tracking
- Momentum measurement
-
Silicon Vertex Tracker (VTX)
- Primary/secondary vertex
- Global/standalone tracking
- DCA measurement

## Slide 4
Silicon Vertex Tracker (VTX)
X
Y
EAST
WEST
B0
Layer | Kind | R (cm) | Z (cm) | RO Channel | # Ladders
0 | Pixel | 2.5 | ±10 | 1,310,720 | 10
1 | Pixel | 5 | ±10 | 2,671,440 | 20
2 | Strip-pixel | 11.7 | ±16 | 122,880 | 16
3 | Strip-pixel | 16.6 | ±19 | 221,184 | 24
B1
B2
B3

## Slide 5
Alignment procedure
Offset calibration
  VTX and DCH of both west and east have their own coordiante systems.
  The origins of the detector don’t coinside with each other.
  Should take account of the relative positions first.
VTX ladder by ladder alignment
  The expected location of the ladders is different from the installed location.
  Should equalize them.

## Slide 6
Offset calibration using field-off run
O(DCHW)
O(VTXW)
O(VTXE)
Beam Center
(reference point)
BC by VTXW in VTXW coordinate
BC by VTXE in VTXE coordinate
BC by DCHW in DCHW coordinate
Relative positions can be calculated if we know BCs in their own internal coordinates.
EastToWest offset
VTXToCNT offset

## Slide 7
Beam center in the VTX
BC in the VTX can be represented by the following formula.
  - DCA = Xbeam - Ybeam
-
(x1, y1)
O (VTX)
(x0, y0)
Beam center
(XBEAM, YBEAM)
DCA from O
X
Y

## Slide 8
Beam center in the VTX
  Fit using the following formula.
  - DCA = P1 * + P2 *
  - P1 = XBEAM = 0.293613 cm
  - P2 = -YBEAM = 0.047278 cm
[rad]
DCA [cm]
O(VTXW)
O(VTXE)
Beam Center
(reference point)
BC by VTXW in VTXW
BC by VTXE in VTXE
EastToWest offset

## Slide 9
Beam center by DCH
Due to offset btw beam center and the origin of DC, α is not 0 and represented by following formula.
O (DCH)
DCH West Arm
α
Ф
Beam center
(XBEAM, YBEAM)
Track by DC from BC

## Slide 10
Beam center in the DCH
O(DCH)
Beam Center
(reference point)
BC by DCH in DCH

## Slide 11
Offset calibration using field-off run
O(DCHW)
O(VTXW)
O(VTXE)
Beam Center
(reference point)
BC by VTXW in VTXW coordinate
BC by VTXE in VTXE coordinate
BC by DCHW in DCHW coordinate
Relative positions can be calculated if we know BCs in their own internal coordinates.
EastToWest offset
VTXToCNT offset

## Slide 12
After offset calibration using field-off and -on run
Before offset calib
After offset calib
DCA in X-Y plane became a Gaussian distributin after offset calib.
The problem still exists.
  The mean of Gaussian is shifted to the right.
  A poor DCA resolution.
VTX ladder by ladder alignment is requred.
DCA in X-Y plane (cm)
DCA in X-Y plane (cm)

## Slide 13: Alignment in (ladder by ladder)
Trajectory estimated by initial vector by DC
Real hit in VTX
Primary vertex by VTX
Expected hit in VTX
: Residue in φ.
The position of the ladder should be shifted to the opposite direction by

## Slide 14
DCA in X-Y plane

## Slide 15
DCA resolution in X-Y plane
DCA resolution becomes better as pT increased.

## Slide 16
DCH moving | 
VTX moving | 

## Slide 17: Further study
  /direct/phenix+user06/phnxreco/Takashi_VTX_LbyL/tmoon/dsts/5.Akiba/2.p2Out/macros
Black: no primz cut Red: primz < -8 Green: -8 < primz < -4 Blue: -4 < primz < 0
Yellow: 0 < primz < 4 Pink: 4< primz < 8 Bright blue: primz > 8
Notes: This is residue as a fuction of phi angle. I sliced residuals though z-vertex.

## Slide 18
Summary
Alignment finished and we chieved a good DCA resolution less than 70 micron when pT is 1GeV/c.
There is room for improvement of DCA.
  Rotation of the coordinate and/or the ladder in VTX
  Cosideration of the DCHE coordinate system.

## Slide 19
Thanks!

## Slide 20: Get paramenters from linear fit.
Y-intercept : -0.00159907 (cm)
Slope : 0.00158915 (cm)
Y-intercept : 0.00177275 (cm)
Slope : -0.000699638 (cm)
Y-intercept : -0.00112291 (cm)
Slope : 0.000222804 (cm)
Y-intercept : -0.00263372 (cm)
Slope : 0.00107324 (cm)
*523 PRDFs used.
X-vertex for E is wider than others
/direct/phenix+user06/phnxreco/Takashi_VTX_LbyL/tmoon/dsts/3.Akiba/4.p2Out/rootfiles/ana.C

## Slide 21
Residue in phi for B0

## Slide 22
Mean of residue in phi

## Slide 23
DCA0 formula for fitting
(x1, y1)
O (VTXW/E)
(x0, y0)
Beam center
(xbeam, ybeam)
This is calculated in VTX internal coordinate
DCA0 can be represented by beamcenter.
  For fitting,
  DCA0 = Xbeam sin φb - Ybeam cos φ b
Before fitting, DCA0 as a function
of should be known.
DCA0 from O (VTXW/E)
X
Y

## Slide 24
DCA0 formula for data point
This is calculated in VTX internal coordinate
By using position of hits in B0 , we can know DCA0 for data point.
DCA0 from O (VTXW/E)
Y
(x1, y1)
O (VTXW/E)
(x0, y0)
Beam center
(xbeam, ybeam)
X

## Slide 25
Plot 2-D distribution of DCA0 vs .
Do Fitting using below function.
    - DCA0 = par[0]sin Фb + par[1]cos Фb
  - par[0] = XBC = 0
  - par[1] = YBC = 0
After fitting, it return beamcenter in
the VTX West coordinate.
  - par[0] = 0.285206+E-4
  - par[1] = 0.0465125+E-5
Parameters should not be fixed
Those will be used as initial parameters for next fitting.
Beam center by VTX : fit DCA0 vs Фb
ZEROFDATA_P00_0000405836_000(0~19).PRDFF
Run Number : 406541
Energy : 200 GeV
Number of events : 1.315M

## Slide 26
Beam center by VTX : background reduction
Before 2nd iteration, let’s eliminate background.
Calculate DCA0 - par[0]sin Фb - par[1]cos Фb.
  par[0] = 0.285206
  par[1] = -0.0465125
Fitting function.
Get σ from fitting.
Apply 5-sigma cut
  - lDCA0 - par[0]sin Фb - par[1]cos Фbl < 5σ
DCA0 - par[0]sin Фb - par[1]cos Фb

## Slide 27
Beam center by VTX : refit DCA0 vs Фb
Plot 2-D distribution of DCA0 vs again.
  Fit function again.
    - DCA0 = par[0]sin Фb +par[1]cos Фb
  - par[0] = 0.293506+-E-5
  - par[1] = -0.0471569+E-5
Final result.
  - par[0] = Xoffset = 0.293613+E-5 cm
  - par[1] = -Yoffset = 0.0472786+-E-5 cm

## Slide 28
What is zed ?
Beam View
Side View

## Slide 29: Alignment in (ladder by ladder)
Trajectory estimated by initial vector by DC
Real hit in VTX
Primary vertex by VTX
Projected hit in VTX
Expected hit in VTX

## Slide 30: Alignment in (ladder by ladder)
Trajectory estimated by initial vector by DC
Real hit in VTX
Primary vertex by VTX
Projected hit in VTX
Expected hit in VTX

## Slide 31: Alignment in φ (Ladder by Ladder(
Trajectory estimated by initial vector by DC
Real hit in VTX
Primary vertex by VTX
Projected hit in VTX
residue

## Slide 34: Introduction to calibration
Alignment
1st STEP
BeamCenter
STEP
Alignment
2nd STEP

## Slide 35
2) Alignment Ladder by Ladder in φ and z

## Slide 36: Alignment in (ladder by ladder)
Trajectory estimated by initial vector by DC
Real hit in VTX
Primary vertex by VTX
Projected hit in VTX
Expected hit in VTX
This is what we did during alignment in phi so far.
: residual normal to u.
( = residual in phi in our notation)

## Slide 37: Alignment in (ladder by ladder)
Trajectory estimated by initial vector by DC
Real hit in VTX
Primary vertex by VTX
Projected hit in VTX
Expected hit in VTX
We didn’t take account of all translation.
: residual tangent to u.
( it doesn’t take account yet in present alignment step)

## Slide 38
Feb. 14: East carriage moved into run position, ready for physics.
Feb. 18: Zero-field runs 402340 and 402338 with a total of ~780k events.
Feb. 19: Access, East carriage moved out and in.
Feb. 20: Zero-field run 402765 with a total of ~590k events.
Feb. 24: Access and move of East carriage out and in.
Feb. 24: Zero-field run 403312, 403318, 403319, 403322, 403324, 403329 with a total of ~3M events. Note: extended runs because of possible timing shift.
Mar. 05: Access (maintenance day) and move of East and West Carriage.
Mar. 08: Zero-field runs 404895, 404891, 404892, 404893, 404894 with a total of ~1.4M events.
Mar. 11: End of LE run, maintenance day, East carriage moved.
-----
Mar. 15: 200 GeV Au+Au, Zero-field runs 405836, 405837, 405838 with a total of ~13M events.
Mar. 19: West carriage moved, Zero-field run 406541 with ~1.5M events
Apr. 02: East/West carriage moved, Zero-field run 408185 with a total of ~ 2M events.
Apr. 04: East carriage moved, Zero-field run 408327 with about 2M events.
Apr. 16: West carriage moved, Zero-field run 409446 with about 9M events.
Apr. 25: West carriage moved, Zero-field run 410113 with about 11M events.
Apr. 30: West carriage moved, Zero-field runs 410660, 410661 with about 2.5M events.
May 05: West carriage moved, Zero-field run 410925 with about 8.8M events.
May 12: East carriage moved, Zero-field runs 411562, 411653, 411654, and 411655 with about 7.5M events.
May 14: East carriage moved, Zero-field run 411768 with about 3.8M events.
May 28: East and West carriage moved, Zero-field run to be performed.

## Slide 39: VTX W/E Beamcenter

## Slide 40: DCH W/E Beamcenter

## Slide 41: CNT East To West

## Slide 42: VTX To CNT Offset

## Slide 43: VTX East To West