## Slide 1: High Energy FF & Beam DE, Time & Position Tracker ZiTiX
Emanuel Pollacco - IRFU/SPhN, Fr
Masami Sako & Masaki Sasano - RIKEN, Jp

## Slide 2: Micro Pattern Detectors Applications for Beam Tracking
Medium – Gas (P5 like or fast gases)
Very high gain possibilities
Rapid charge collection (time for +ve ions to cross 100mm)
  Tested for m at 10E7 Hz (KABEZ- IRFU)
Good
  Charge (DE) resoln – Zi*
  Multi-DE sampling possibilities (dE/DE<4%)
  Time resoln – Ti (approx 5nsec)
    Multi-Time sampling possibilities (1nsec)
  Position - X (100mm)
  * E Pollacco et al., NIM, Research A, Volume 723, p. 102-108.

## Slide 3: Difficulties to Overcome
GAP uniformity has to be very very uniform Area covered for a given projected path length is relatively small – approx 1-3cm  multi-sampling & multi-channels
Soln adopted ZiTiX: MICROMEGAS – BULK or m-BULK
Support of Mesh via plods/strips
PCB
GAP-ampli-zone
50-120mm
1-3cm
MESH
Electronics
Track

## Slide 4: General Conceptual Layout of Det A For Fission Fragments
x1,z1
x2,z2
F1
F2

## Slide 5: Det A & B are Identical
x1,z1
x2,z2
A
B

## Slide 6: Conceptual Design of Box
Cathode
Anode
GAS
Window
Window
Electric field uniformity
Low gas impurities
ASIC electronics for Position (2X128) - GET
Standard Electronics for DE & Time