## Slide 1
PAW to ROOT to …
a high energy vision

## Slide 2: Front-End Electronics & Data Acquisition
RIKEN

## Slide 3: Objective of the Meeting
GET is a relatively unique project in data capture for Nucl. Phys. because:-
  G : for Generic
  Multi national lab collaboration
  Multi project application:-
    ACTAR, AT-TPC, 2p-TPC, [SAMURAÏ-TPC], R3B-TPC GASPARD(Si), [S3(Si)]
  To inform you of what is the GET project.
  What are the different tasks?
  What are the schedules ?
Not a question of ‘selling’ the project but a question of your active participation as one of major Nucl. Phys. Lab. Internationally.

## Slide 4: Multi-Lab Participation
10 men.years
2p-TPC
4 men.years
AT-TPC
9 men.years
S3 & R3B-TPC
ACTAR
8 men.years
S3 & ACTAR

## Slide 5: An experiment for FEE & DAC
  Generic (Gas, Solid State, Scintillators …)
  Scalable (100 – 30,000 channels)
  Portable/Integrable ( GANIL, RIKEN, NSCL, GSI …)
  User Oriented Design
  Reliable/Future Proofing
    Archecture & Component Choices & Policy
  Numeric (Early)  Energy/Time/Shape
  Dynamic range
  Fast Data Reduction & Collection
  Adaptive Live Control, Optimisation & Stabilisation.
  Modular (Electromechanical constrains)

## Slide 6: Tasks GET
Electo-mechanical Int & Cabeling (ZAP) IRFU + *
Hardware
  AsAd – ASIC + on Front-end Board CENBG
  CoBo – Concentration Board & Cabeling NSCL
  MUTANT & BEM & µTCA – Trigger & Time Stamping GANIL
Firmware & Software
  Data stamping & reduction on CoBo NSCL, IRFU
  Slow Control on CoBo IRFU
  Data Acquisition System PC farm GANIL
  Data Formating IRFU,GANIL, MSU
  Electronics Simulation IRFU
Calibration IRFU + *
System Security - Cooling & Power & Gas control CENBG
System control at a Distance *
Documentation IRFU+*
Managment *
A relatively
Complete
System
Develoment
Effort
Electronics/DAC
Detector
Electronics

## Slide 7: Electro-mechanical constrains
Solid State devices (DSSSD, Planar Ge)
  Medium-to-Large number of channels (500-10,000)
  VacuumAir interfaces
  Very-FEE or FEE in Vacuum
  Self-contained detector+FEE(ADC+FPGA)
GAS devices
  Micro-pattern gas detectors
  Very large number of channels (10,000-…)
  GasAir interfaces
Scintillators
  Photodiodes (avalance, …)
  PMTs
Major consideraton in a design of an instrument
Electronics
Detector
Electronics

## Slide 8
32 modules equipped
with 3 layers of silicon and electronics
1 module
Beam and target
GASPARD

## Slide 9
SAMURAI-TPC
SAMURAÏ
TPC
DAC
Maximising the magnetic volume
Phys:- EoS , GMR, …

## Slide 10
An experimental approach towards FEE & DAC
  Generic (Gas, Solid State, Scintillators …) xxxxo
  Scalable (100 – 30,000 channels) xxxxo
  Portable/Integrable ( GANIL, RIKEN, NSCL, GSI …) xxxxo
  User Oriented Design
  Reliable/Future Proofing (under study) xxxoo
    Archecture & Component Choices & Policy
  Numeric (Early)  Energy/Time/Shape xxxxo
  Dynamic range xxxxo
  Fast Data Reduction & Collection xxxxo
  Adaptive Live Control, Optimisation & Stabilisation.
  Modular (Electromechanical constrains) xxxoo

## Slide 11
ADC
Pipe-Line
FPGA
Memory
DET
Filter
DISC
Hit Patter
Multiplicity
DET
Filter
DISC
DET
Filter
DISC
DET
Filter
DISC
DET
Filter
DISC
DET
Filter
DISC
Analog Memory Soln
Trigger
Generic Aspects for Nucl. Phys.
  Internal & External PAC & Slow Control
  Variable Sampling (1100MHz)
  Calibration facility & Low Power
  Good Resoln & Dynamic Range
  Gain & Discriminator/ch
  Numeric Trigger Modes
  Channels/Asic = 64

ASIC
for
GET
Based on the T2K
Program
aget
AGET

## Slide 12
ADC
Pipe-Line
FPGA
Memory
DET
Filter
DISC
Hit Patter
Multiplicity
DET
Filter
DISC
DET
Filter
DISC
DET
Filter
DISC
DET
Filter
DISC
DET
Filter
DISC
Analog Memory Soln
Trigger
Generic Aspects for Nucl. Phys.
  Internal & External PAC & Slow Control
  Variable Sampling (1100MHz)
  Calibration facility & Low Power
  Good Resoln & Dynamic Range
  Gain & Discriminator/ch
  Numeric Trigger Modes
  Channels/Asic = 64

ASIC
for
GET
Based on the T2K
Program
aget
AGET
Filter
Ext PAC

## Slide 13
15 GeV/c p-Pb (# 20K events)
FE electronics
validated on 1728 channels
HARP test set-up at CERN (oct 07)
SEDI/IRFU
T2K

## Slide 14
256 Pads
FPGA
Trigger
Selective/
Calculated
-Read out
CoBo
Switch
Time-Stamp
Zero Suppress
Base-Line
Ordering
Data Filtering

LVDS
PA
ZAP- 
PA
PA
PA
ZAP- 
ZAP 
ZAP- 
4 X 25Mhz
-FADC – 12bits
AsAd
PA-72
PA-72
PA-72
PA-72
AGET
MUTANT
BEM
BUTIS

FPGA
Temp
I/V
Temp
I/V
Temp
I/V
FPGA
Mem
FPGA
Mem
Temp
I/V
Time Slice
PC Farm
Concentration Board
Pulser
TRIGGER
Numeric (LE Disc)
Level 0 - External
Level 1-Pad hits Multiplicity
Level 2 – Event Topology
Calculated read pattern
Sparse Channel Read
Selective Read of Capa Array

## Slide 15
2.5Gb/s

## Slide 16
This module could be in
the acquisition room near
the pc and the scope or
inside the external trigger
system (with GMT,
CENTRUM, BUTIS…
37
Aget
Aget
Aget
Aget
ADC
Aget
Aget
Aget
Aget
ADC
2
3
1
4
39
38
40
14 slot µTCA Crate
2 PM, 1 MCH, 10 CoBo AMC
+ 1 MUTANT AMC
Up to 10240 channels = 160 ASICS
on 40 ASAD boards (4 asics/ASAD)
GbE network
Multiple fibbers in the same link
LVDS readout signals @ 150Mbit/s
(ADC 12bits-25MHz) + slow control and
monitoring bus over 2 meters
TI ADS6422
ASAD
BEM
MUTANT for
MUltiplicity
Trigger(s)
ANd
Time
ASAD
Counting Rate
Up to 1 KHz
P
M
P
M
MCH
FRU
Power supply
Power supply
PC farm
10 GbE MCH uplink
GbE dual star carrier support

## Slide 17: Global architecture for the full version (3 crates)
Up to 30720 channels
with 480 AGET (asics)
on 120 ASAD boards
Ethernet Network
Master
MUTANT
Slave
MUTANT
Slave
MUTANT
Front End
Back End
BEM
P
M
P
M
MCH
FRU
Power supply
Power supply
To 40 ASAD boards
P
M
P
M
MCH
FRU
Power supply
Power supply
To 40 ASAD boards
P
M
P
M
MCH
FRU
Power supply
Power supply
To 40 ASAD boards
10 GbE MCH uplink
PC farm
Inter-MUTANT
Fast I/O link
Inter-MUTANT
Fast I/O link

## Slide 18: Use of GET
GASPARD – external pac(IPNO)
S3 - Beam Tracking
S3 - Si (DSSSD) – external pac
2p-TPC, ACTAR, AT-TPC
SAMURAI-TPC

## Slide 19
PAC: Ortec Standard vs ASIC
ATHED
  Noise with 60pF & i= namps
    30keV FWHM on 50MeV
    Threshold: Max Energy 1:850
GET
  Noise with 50pF
    87,500e FWHM on 62.5e6
    Threshold: Max Energy 1:550
    Sampling contribution  1:1500 (23keV in 50MeV)
Ortec 142A PAC
  Noise with 50pF
    4keV FWHM on 200MeV
    Threshold:Max Energy 1:25000 (X30 better then ATHED)

## Slide 20
Summary for GET - Hard
Generic
  External/Internal PA
  Adjustable Shaping Times & Gain, Sampling
  Dynamic Range - 1:550
  Scalable: 32 ch to 32,000 ch
  Disc/Numeric trigger
  FPGA based  soft reconfugerable
Reasonable Through-Put
  1KHz large events (50% occupancy) 4Gb/s instant
Portable System
  BUTIS, CENTRUM … coupling with Spectrometer, Si …
Nuclear Physics Oriented
  High turn around time: Set-upData TakingAnalysisSet-up …
  Slow Control Data Base, Calibration Policies, Data Filtering
  FEE & Backend – archecture - applicable to multi-use