## Slide 1: High Multiplicity Trigger Implementation to Silicon Tracker for sPHENIX
RIKEN/RBRC
Itaru Nakagawa

## Slide 2: FVTX
4 Stations

## Slide 3: FVTX
Wedge

## Slide 4
Multi-Track Counting in Online
Trigger : #track > Threshold
~ 3/4 active wedges
Online Coarse Track

## Slide 5: FVTX Readout
FEM
Data
Collection
Module
FVTX Tracker (4 layers)
FEM-IB
FPGA
FEM
FPGA
FEM
FPG
FEM
FPGA
FPGA
Slow Control

## Slide 6
FEM
Data
Collection
Module
FVTX Tracker (4 layers)
High Mult. Trigger
FEM-IB
Online
Track?
FEM
Online Track
FEM
Online Track?
FEM
Online Track ?
Track Counter
FPGA Algorithm
１bit Serial Line
1 bit serial line
# of FEM only goes up to 24
GL1

## Slide 7: FEM -> FEM-IB Cable
About 30 cm long.
FEM-IB
FEM

## Slide 8: FEM Board
Test Pin OUT
Serial Wire
To FEM-IB Test-Pin

## Slide 9: Commissioning FVTX Trigger

## Slide 10: High Multiplicity Trigger vs MB
Number of Triggers
Reconstructed # of Tracks in FVTX per Arm
Corresponds to CMS Multiplicity
MB Trigger
South FVTX Trigger
Au-going of pAu

## Slide 11: Trigger Efficiency Turn On
Trigger Efficiency
Reconstructed # of Tracks in FVTX per Arm
Present Trigger Turn On
Ideal Trigger Turn On

## Slide 12
MB Trigger
FVTX South OR North Trigger
FVTX South AND North Trigger
Successful in collecting high multiplicity events in FVTX

## Slide 13: Purity
 | pp (AND+OR) | pAu (South) | pAl (South)
# Trigger | 500M | 300M | 90M
Purity | 0.10 | 0.8 | 0.60
# of High Mult Event | 50M | 240M | 54M
The trigger was prescaled by 2 ~ 10 during pp run
pAu
pp

## Slide 14
Upper Limit
Off Diagonal : Discrepancy between online offline track algorithm

## Slide 15
FEM
Data
Collection
Module
FVTX Tracker (4 layers)
High Mult. Trigger
FEM-IB
Online
Track?
FEM
Online Track
FEM
Online Track?
FEM
Online Track ?
Track Counter
FPGA Algorithm
１bit Serial Line
1 bit serial line
# of FEM only goes up to 24
GL1

## Slide 16
FEM
Data
Collection
Module
FVTX Tracker (4 layers)
High Mult. Trigger
FEM-IB
Online
Track?
FEM
Online Track
FEM
Online Track?
FEM
Online Track ?
Track Counter
FPGA Algorithm + LUT
Multi-bit Serial Line
MultiBit
# of FEM only goes up to 24
Strip#
GL1

## Slide 17: sPHENIX Silicon Tracker
Silicon Tracker
Current Design Employs FPHX Chip
Readout to be very similar to FVTX

## Slide 18: Summary
The FVTX trigger has two major compromises
  Online Tracking : Coarse wedge based
  Upper limit in # of tracks counting
Above can overcome by
  More powerful FPGA to handle LUT in FEM
  Multi-bits communication between FEM and FEM-IB
Implement above improved version of the FVTX High Multiplicity Trigger to sPHENIX silicon tracker

## Slide 19: Backup

## Slide 20
-3 -2 -1 0 1 2 3
南FVTX
北FVTX
sPHENIXシリコントラッカー
CMS
ラピディティー h
各測定器のラピディティー範囲

## Slide 21: FVTX Readout
FPGA
Slow Control
FEM-IB
All hits are sent to FEM regardless of trigger request
FEM

## Slide 22: FVTX Trigger Design
FPGA
Slow Control
FEM-IB
Raise a “track flag” if track like hit pattern is found.
Track flag
TRIGGER
GL1
If the number of flagged FEMs are more than threshold, then issue a trigger
FEM