## Slide 1: Status of Event Start Counter
15 Jan 2020
RPC Meeting
H. Sako

## Slide 2: EST support frame on E16

## Slide 3: EST frame assembly

## Slide 4: Particle species
All
f=30
f=0
f=120
Np+~ Np-~Np
K/p (4pi) ~ 5x10-3
K/p (f=30) ~3x10-3

## Slide 5: Schedule
Jan 10
Installation of part of EST support to E16  done
Jan 14-17
Assemble EST support
Remove caps of PMTs
Jan 16 or 17
Acryl radiator delivery
Jan 17-22
Light shielding of the PMT’s, test of PMT’s
Insert PMT’s in the EST support
Jan 20-24
TSC assembly and test (90Sr source)
Installation of TSC
Feb 5-7
Installation of ESC

## Slide 6: M2 vs p with TSC (R=0.7m) and RPC with resolution 60ps and 70ps
P and pi can be separated
Almost no K
To evaluate resolution should we install a small scintillation counter in the back side of RPC?
All sections
f=120o+-15o

## Slide 7: How to remove cap of PMT
Open large holes around the wires

## Slide 8: Backup

## Slide 9: Only tracks with hits on all detectors (SDD,GTR1,2,3,RPC) are shown
Findings with simulation
No high-p close-to-straight tracks
Positive or negative particles only
The tracks always pass SSD’s and GTR’s with the next section (90±15 deg)
  We can reconstruct momentum!
At R=300 in our section (120±15 deg), no track passes. We should set the start counter at R>=700 or even outside the MRPC to measure the time-of-flight
RPC (R=1300mm)
RPC
Positive-charged
particles
Negative-charged
particles
Start counter
(R=300mm)
New position
R=700mm
120±15o
section

## Slide 11: Dimensions of the scintillators + 2 circuit boards
Scintillator (already delivered)
Circuit (arrive by ~Jan 17)
Assemble by Jan 24
60
60
65
100
~35
Holes for M4 screws
~103
5
5
47
25
50
25
70

## Slide 12: Acryl Cerenkov Detector（変更）
アクリル外径を小さくし、PMTに合わせることで、蓋を外さずに取り付けフレームに挿入可能となる
71.9
83
30
83
86.683
PMT R5543
  Quartz window (UV transparent)
  Fine mesh
  TTS 0.5ns
  Gain 1.7 x 107(B=0), 0.6x107(B=0.5T)
83 (PMT)
Φ58 (photocathode)
Acryl radiator
84

## Slide 13: PMT Frame
Arrived on Jan 7

## Slide 14: Configuration of Event Start Counter
Configuration to avoid Forward eID acceptance (12 deg in horizontal)
  14 PMTs
  Additional 2 PMTs if they do not interfere the Forward eID acceptance
Installation
  Slide in the PMT frame with PMTs on the support
He Bag
Acryl C
550
252
352
84
85Φ
104
5
5
104
124
124
510
680
Acceptance of
Forward eID
PMT+Acryl radiator
Al Plate (t=4mm)
Hole for PMT(f=84.5 mm)
Support
5
233(12o)
151
Position at R=1096
Problem in fixing the PMT
Frame to the support
Order additional parts

## Slide 15
NFS5-2060
NFS5-2020
NFS5-6060
320
NFS6-30120
Temporary frame
For installation
Connect
to He bag
frame
Installation on Jan 10
Assemble
PMT frame
2. Slide in
3. Fix in
the final
position

## Slide 16: Base plate shared with He bag support
NFS6-6060
20

## Slide 17: Support of EST
Share the base plate with the upstream He bag support
Misumi frames will be delivered on 25 or 26 Dec
Assemble of upstream He bag support should be done with EST frame
He bag support
(R=956)
R=1096
Support for ESC
Frame for PMTs (R=1096)

## Slide 18: Selection of 3-inch PMTs
16 good PMT’s with high gain and 5 PMTs with lower gain (for spares) were selected
Removal of the bottom cap (need to cut HV and signal cables and reconnect) for 16 selected PMT’s
  Removal is not necessary
  Just slide the cap to backside (already done)
PHENIX-BBC (with 3cm thick quartz radiator) was borrowed from BNL and being tested for reference
  Should have ~50ps resolution
  Under test

## Slide 19: Cables
Borrowed from KEK on Jan 9
  18 15m SHV-SHV (14m requested)
  18 15m BNC-BNC (14m requested)
  18 6m BNC-BNC (5m requested)
  20 20m BNC-BNC (20m requested)
Found 60/64 BNL-lemo connectors
  Including new 20 connectors to be bought at JAEA and new 10 connectors at Tsukuba

## Slide 20: Required circuits and modules
ESC
16 ch of HV (secured)
16 ch PMT amps (secured)
16 ch NIM Discriminators (secured) for trigger
16 ch LEPS Discriminators (secured)
16ch HRTDC (secured)
Multiplicity logic module (borrowed from J-PARC)
  For the trigger
TSC
3 LVPS’s (probably ok)
16 ch PMT amps (secured)
16 ch NIM Discri (secured)
16ch LEPS Discri (secured)
16ch HRTDC (secured)
OR module (secured)
Coincidence (1ch)

## Slide 21: Circuit MRPC slowamp
NIM discri (8ch)
OR log (8ch1ch)
Coincidence (1ch)
LVPS

## Slide 22: Removing the bottom cap
With the bottom cap, it is difficult to arrange PMTs side by side
Also it is heavy
1. Remove gasket
2. Open bottom cap
Cut HV and signal cables
Remove the bottom cap
Re-solder cables on the back side
of the circuit board
Bottom cap

## Slide 23: Weight (with 3inch PMT)
PMT 0.4kg
  Total = 0.4*14
Acryl radiator : r=1.19g/cm2
  V=t * p * (R^2)
  = 5 * 3.1416 * (4^2) = 251 (cm3)
  W = 1.19*0.251*14=4.19kg
Misumi frames
  HFS6-30120: 3.01kg/m 0.5m 1.51kg
  NFS6-2060: 1.26kg/m 1.6m 2.02kg
  NFS6-6060: 2.63kg/m 2.4m 6.31kg
  NFS5-2020: 0.5kg/m 0.6m 0.3kg
  Total 10.1kg
Total : 19.9kg

## Slide 24: Strategy in Run0
Position TSC just in front of RPCs (R~1200mm) to check operations in E16 environment, and evaluate the hit rate and the timing resolution of 2 RPCs and TSC
  Good interaction events need to be selected
Move TSC to R=700mm position to evaluate PID performance with SSDs and GEM trackers

## Slide 25: MPPC circuit for track start counter

## Slide 26: Dimensions of the scintillators + 2 circuit boards
Scintillator (already delivered)
Circuit (arrive by ~Jan 10)
Assemble by Jan 17
~60
60
65
100 (scintillator)
~35
Holes for M4 screws
~103
5
5
47
4.2mmφthrough-hole

## Slide 27: Circuits
Modules
PMT amp (16ch)
NIM Discriminator (16ch)
LEPS Discriminator (16ch)
OR logic (16ch OR)
HRTDC (16ch)

## Slide 28: Status and schedule
8 scintillators delivered
Preamp circuits to be made by Jan 10
Assembly in Jan 13-17

## Slide 29: Consideration of setup in E16
Assumed detector position. R=800mm downstream from the target
R=1096mm

## Slide 30: Beam duct design (by Morino)
352
252

## Slide 31
Window: 100mmφ