## Slide 1: Spinfest: Vernier Analysis and Quality Assurance
Mike Beaumier
University of California Riverside
Brookhaven National Laboratory

## Slide 2: Outline and Motivations
Vernier Analysis
  Working with Kensuke, Oleg, et al
  Determine Absolute Luminosity
  Define measured variables
  Define experimental apparatuses
  Results
Quality Assurance
  Working with Richard
  Determine errors in crucial kinematic data
Semi-distant, hopeful plans:
  W-analysis (Can anyone suggest some reading?)

## Slide 3: Vernier Analysis
Primary motivation: determine absolute luminosity
  Also, good starting point to learn framework
Intuitive Absolute luminosity: not but reasonable analog in particle physics:
Luminosity can also be thought of as a proportionality constant between event-rate and cross-section:
Example cross – section
Most calculations require “L”

## Slide 4: Derivation
Parameters: .
Probability of single particle in blue beam interacting head-on with particle in yellow beam:
  P
Consider particles in the blue beam:
Total collisions =
Rate at which bunches cross:
Crossing Rate =
It follows:
          Rearranging Terms:

## Slide 5: Math to Measurement
In the limit of small bunch-lengths with non-uniform Gaussian charge distributions in transverse direction (x,y)
Example Beam
Carry out integration – we arrive at Luminosity
in terms of measurable parameters

## Slide 6: Measuring and
Vernier Scan determines Absolute Luminosity by measuring and
h
h = offset
Overlap Region
time (seconds)
Position (microns)
Moving a Beam - BPM
Figure modified from AN888

## Slide 7: Measuring and
Apparatus 1: Direct Current Transformer (DCCT)
Advantages:
  Excellent count of total number of ions in beam – 0.2% accuracy (small systematic uncertainty)
  Calibration of Wall Current Monitor (WCM) with DCCT
Cost of Advantages:
  Insensitive to beam debunching
  Sampling time bins are large
DCCT

## Slide 8: Measuring and
Apparatus: Wall Current Monitor (WCM)
Advantages:
  RLC circuit gives good sensitivity to bunched beam
  Measures bunch profile in z-direction
Cost of Advantages:
  Very small time sampling bins (~25 ns)
  Less accurate for total beam ion count
  Larger systematic uncertainty (~2%)
WCM

## Slide 9: Measurement: Beam Offset
Apparatus: Beam Position Monitors
Measure transverse beam location – 10 m accuracy
Compare induced voltages in side-strips
  Comparator circuit determines center in x and y direction
    i.e. :
Disadvantages
  Many possible offsets: electrical center ≠ mechanical center ≠ orbit center
Beam Position Monitor
Y1
Y2
X2
X1
Image Credit: SLAC Graphic

## Slide 10: Measurement: Beam Offset
Apparatus: Magnets
Dipole magnets used to steer beam
Magnet step linearly proportional to measured step by BPM
  Cross check for beam position monitor
Magnets step beam – BPMs measure step size.
Magnet Step (microns)
BPM Step (microns)
Steering Magnets Vs BPM Step

## Slide 11: Vernier Analysis Goals
Determine Acceptance of BBC trigger (integral of BBC (aka trigger efficiency)
  Pitfalls:
    BBC Narrow and Wide have different acceptances defined over run – check trigger configuration at: https://www.phenix.bnl.gov/WWW/run/daq/runcontrol/
Determine correction to Acceptance
  Need to use ZDC Narrow and Wide
Determine Efficiency of BBC
Once BBC efficiency is known, we may proceed with calculation of luminosity and correct for “hourglass” artifact.

## Slide 12: BBC Trigger Acceptance Run 340329
BBC Wide / BBC Narrow
Ratio vs Vtx Position: With Statistical Error
Ratio vs Vtx position: Without Statistical Error
Vertex Postion – (cm)
Vertex Cut – 30 cm
Counts At Given Vertex
Vertex Postion – (cm)
Vertex Cut – 15 cm

## Slide 13: To Do
Integrate over Ratio figure to obtain acceptance
  Acceptance subject to correction since BBC triggers become less efficient at large vertex displacement
Need to plot BBC event rate as a function of beam step
  Problem: there is no watch – we need to use the clock gl1p and the time-step data to calculate where the beam was at a given time
  Need to fully understand the ‘hourglass correction’
Recall parameters – still need to extract:
Calculate L

## Slide 14: Quality Assurance
Goals:
  Establish reasonable criteria for cutting out garbage from physics runs
  Retain as much data as possible
  Currently studying global event characterization for di-muon data (runs 331691 – 340515)
  Other analyses that must be done:
    Muon system reconstruction
    Muon Tracker health
    RPC Health (check for dead channels)
    MuID Health

## Slide 15: QA – Work So Far
Why we need QA:
BBC vertex spread as function of Run number.
Clearly, we need to make some cuts to keep only good data!
Di-Muon vertex spread
Arbitrary Acceptable Range

## Slide 16: QA - Goals
Create and maintain log files with bad runs flagged
Flag data outside acceptable ranges, and display in a useful way
Overarching goal: get used to navigating trees, what variables are stored in these trees, and how each variable must be dealt with.