## Slide 1: Constraints on the dense matter EoS obtained with the SπRIT time projection chamber at the RIBF .
Motivation for EoS studies
Observables
Experimental Design
Results from previous experiment
Current Status of the EoS
What is next?
William Lynch (FRIB/MSU) for the SRIT collaboration

## Slide 2: Goal: Determining how the NS EoS depends on the NS composition  the role of nuclear physics.
Astronomers have recently constrained the EoS of Neutron Star (NS) matter by measurements of:
  the Gravitational waves from the merger of two neutron stars from which the NS deformabilties were obtained.
  Radii of NS that are pulsers with known masses.
Both observables only provide the total pressure. To predict what is the composition of NS matter and how it generates this pressure, we need to know how the EoS depends on the densities of the constituent particles.
  For nucleonic matter, one needs to know the energy and pressure of symmetric matter and of the symmetry energy.
At present, no astronomical observables provide that.
With the help of nucleus-nucleus collision data, we can now provide such information.
Visualization of the radiating hot-spots on the 1.4 solar mass Pulser J0030+0451, whose radius was recently measured with NICER
Symmetric matter
EoS
Symmetrry
Energy

## Slide 3: Simulating laboratory collisions to probe the Symmetric Matter SM EOS at >0.
Two observable consequences of the high pressures that are formed:
  Nucleons deflected sideways in the reaction plane (transverse flow).
  Nucleons are “squeezed out” above and below the reaction plane (elliptical flow. >
pressure contours
density contours
Au+Au collisions E/A = 1 GeV)
Danielewicz et al., Science 298,1592 (2002).
Graphical represention of results from actual calculated collisions with BUU transport theory.

## Slide 4
The curves represent calculations with parameterized Skyrme mean fields
  They are adjusted to find the pressure that replicates the observed transverse flow.
The boundaries represent the pressures obtained for the mean fields that reproduce the data.
They also reflect the uncertainties from the effective masses and in-medium cross sections.
Danielewicz et al., Science 298,1592 (2002).
EoS varied to reproduce flow data in a multi-parameter space (Ksat, Qsat, m*/m, nn)
Determination of symmetric matter EOS from directed flow, v1, in nucleus-nucleus collisions

## Slide 5: Determination of symmetric matter EOS from elliptical flow, v2, in nucleus-nucleus collisions
  in plane
  out of plane
The curves labeled by Knm represent calculations with parameterized Skyrme mean fields
  They are adjusted to find the pressure that replicates the observed transverse flow.
The boundaries represent the pressures obtained for the mean fields that reproduce the transverse and elliptical flow data.
They also reflect the uncertainties from the effective masses and in-medium cross sections.
Danielewicz et al., Science 298,1592 (2002).

## Slide 6: Obtaining Symmetry Energy (SE) constraints from HI collisions
Find observables sensitive to Symmetry Energy (SE)
Often, this sensitivity is expressed in terms of Taylor expansion coefficients:
Choose a technique to analyze the SE constraint, such as Bayesian inference, Pearson correlations, crossover technique, analysis of the correlations of fit parameters along curves of constant 2.
Determine what quantity each observable constrains at the sensitive density, s, such as S(s), Psym(s = L(s * s /3, L(s , … and at the sensitive density s where the SE was constrained.
Combined these constraints with constraints from other sources to obtain the symmetry energy over a range of densities
Symmetric Matter Observable | /0 | Symmetry Energy Observable | /0
GMR | .95-1.05 |  | 
Elliptical flow | 1.5-4.5 | Elliptical flows | ~1.5
Transverse flow | 1.5-4.5 | Transverse flows | ~1.5
 |  | Spectral ratios (n/p) (d/p),(t/p) | 
 |  | Isospin diffusion | 0.17-0.31
 |  | Pion pT spectra | ~1.45
Explored with SRIT

## Slide 7: New device: the SAMURAI Pion Reconstruction and Ion Tracker SPiRIT Collaboration and experiment at RIKEN-RIBF
Collaboration formed in 2009
First experiment in 2016
First physics paper in 2021

## Slide 8
RIPS
60~100 MeV/nucleon
~5 MeV/nucleon
350-400 MeV/nucleon
Old facility
New facility
Location: RIKEN RI Beam Factory (RIBF)
BigRIPS
SRC
RILAC
AVF
RRC
fRC
IRC
Experiment facility
Accelerator
SHARAQ (CNS)
SAMURAI
ZeroDegree
SLOWRI
SCRIT
RI-ring
SHE
Z=113
  Intense (80 kW max.) H.I. beams (up to U) of 345AMeV at SRC
  Fast RI beams by projectile fragmentation and U-fission at BigRIPS
  Operation since 2007
<10 MeV/nucleon
CRIB (CNS)
GARIS

## Slide 9
Super Ring Cyclotron
To accelerate Uranium ion to 345 AMeV.

## Slide 10
High-resolution
beam line
F0-F11: 125.983m
ZeroDegree
SHARAQ by U. of Tokyo
SAMURAI
BigRIPS
Max. rigidity = 9Tm
Max. rigidity
=6.8Tm max.
Field integral =7Tm
Fragment separation and PID

## Slide 11
80cm
53cm
E field
B field
x
y
NIMA 784 (2015) 513
SPiRIT-Time Projection Chamber
for the measurement of charged particles in HIC
SAMURAI dipole magnet
dE/dx – Br particle identification.
Readout with ~12000 pads.
Operation at B~0.5T

## Slide 12: The SpRIT Time Projection Chamber
SAMURAI Pion-Reconstruction and Ion-Tracker TPC
Construction finished 2013
G. Jhang et al., J. Korean Phys. Soc. 69 (2016) 144
R. Shane et al., Nucl. Instr. and Meth. A 784 (2015) 513
J. Barney et al., RSI 92, 063302 (2021);

## Slide 13: Schematics of SPiRIT TPC
Based on Bevalac EOS TPC.
Wire amplification with P10 gas (1atm).
Readout ~12000 readout pads.
Multiplicity: 10 – 100 per event.
  - Central collisions ~ 50 hits
Target at the entrance of chamber.
To assure high efficiency, beam passes through chamber as well.
B,E
beam
X: wire
Y: drift
Z: beam
108pads
(864mm)
112pads (1344mm)
12mm
8mm
53cm
drift
Rev. Sci. Instrum. 92, 063302 (2021)

## Slide 14: Readout Electronics for TPC: GET
GET: state-of-art general electronics for TPC
  Integrated system from Frontend to DAQ.
Configurable gain/shaping time/trigger
Ch. by ch. hit registering
  Selective digitization
Checking the connection one board by one board.
NIMA 887 (2018) 81, NIMA 899 (2018) 43
Electronics mounted to top of TPC for best heat removal

## Slide 15: 2016 Spring experiment setup
STQ
NeuLAND
MWPC type
Time Proj.
Chamber
12k channel
beam
Chamber in SAMURAI magnet B=0.5T
Beam Tracker
BDC

## Slide 16: Choice of the TPC operating parameters largely governed by the magnet design and the requirements for accurately detecting pions.
Fixed External target just outside upstream window.
No internal field cage.
In a sphere of about 10 cm about the target, the track density is too high to use.
We had two beam drift chambers in the beam which gave us the vertex to better than 1mm.
Excellent pion acceptance at y>ycm suggests low field strength ~ 0.5T so that pions at rest in the CM get out of the high track density region near target
Minimum ionizing pions set to be at about 180 channels out of 3500. Consequently, many H and He tracks have saturated pads that we excluded in the analysis. This was corrected by desaturation technique. J. Estee et al., NIMA 944, 162509 (2019).

## Slide 17: Particle identification by TPC 132Sn + 124Sn Ebeam=270 AMeV
Use of wire plane allowed use of more distance pads to correct for saturation effects on high z particles.
Achieved an linear response over an effective dynamic range of about 4000 to one.
p
d
t
4He
6He
3He
7Li
6Li
p+
p-

## Slide 18
Pre-Nusym2019 Zuhai, China
Transport Models Evaluation Project
Nusym2018 Busan, Korea
Xu et al., Phys. Rev.C 93,044609 (2016).
Y.Zhang et al., Phys. Rev.C 97, 034625 (2018).
A.Ono et al., Phys. Rev. C 100, 044617 (2019).
M. Colonna et al.,Phys. Rev. C 104, 024603 (2021).
G. Jhang et al., Physics Letters B 813, 136016 (2021)
H. Wolter et al., Prog. Part. Nucl. Phys. 125, 103962 (2025)
Weekly Zoom meeting (Wed @8 AM)

## Slide 19
Previous calculations optimized the  potentials to describe Au+Au collisions at 400 MeV
Spirit data are the first data which measures the full pion spectra to a high degree of accuracy
Previous data sets (FOPI) were not measured to peak in the pion spectra to low pion energies
  Around 55% of their data is extrapolated to low energies using theory.
  The variations in the predictions for total pion multiplicities strongly reflect differences in the the mean field potentials for  baryons, without which the total multiplicities cannot be predicted.
  Mean field potentials for  baryons are adjusted in current analyses to reproduce the observed pion multiplicities.
Extrapolated region
See Talk by
D. Cozma
on Wed.

## Slide 20
Estee et al, PRL 126, 162701 (2021)
Dan Cozma
Pion Spectral Ratios
Dan Cozma: dcQMD
The pion spectra at high pT reflect the accelerations of the nucleons due to the isovector mean field potentials that control the symmetry energy.
The discrepancy may reflect the contribution of non-resonant pion production that is neglected in the current calculations. The discrepancy is independent of the asymmetry of the system. This discrepancy is absent in the pion spectral double ratio.
Raising the bombarding energy is an important test of this interpretation because it will decrease the relative contributions of non-resonant pion production and check and reduce the role of the  potentials.
Gray region show calculated double ratio for for L=7728 MeV
See Talk by
D. Cozma
on Wed.

## Slide 21
Estee et al, PRL 126, 162701 (2021)
Dan Cozma: dcQMD
Constraints from pion spectral ratios
See Talk by
D. Cozma
on Wed.

## Slide 22
Beam direction
New Experiment
System | E/A (MeV) | (N-Z)/A
136Xe+124Sn | 334 | 0.20
124Xe+112Sn | 334 | 0.11
Why measure at higher incident energy?
  At higher energies, the non-resonant
  pion emission is much less abundant.
  The role of the delta potentials will be
  significantly reduced.
  The system is at high density longer.

## Slide 23: Determining and Experimentally constrained symmetry energy List of constraints on the SE used in the fits:
Constraint | /0 | S() (MeV) | L01 (MeV) | L (Mev) | Ksym (Mev) | Psym (MeV/fm3)
Masses | 0.63 | 24.70.8 |  |  |  | 
Masses | 0.72 | 25.41.1 |  |  |  | 
IAS | 0.66 | 25.51.1 |  |  |  | 
HIC (Idiff) | 0.22 | 10.31.0 |  |  |  | 
D | 0.31 | 15.91.0 |  |  |  | 
HIC(n/p) | 0.43 | 16.81.2 |  |  |  | 
PREXII | 0.67 |  | 71.522.6 |  |  | 
HIC() | 1.45 | 5213 |  | 79.538 | 47256 | 10.98.7
HIC(n/p flow) | 1.5 | 24.70.8 |  | 850.8 | 96390 | 12.18.4
W.G. Lynch and M.B. Tsang PLB 830, 137098 (2022)

## Slide 24: Bayesian determination of SE
Where
And “fit” is insensitive to Skin(0) for
Cubic expansion
---- Quadratic expansion
S01 = Sint | 24.00.5 MeV
L01=(301) (01) | 53.90.9 MeV
K01=(301)2 (01) | -4231 MeV
S01 = Sint | 24.00.5 MeV
 | 53.90.9 MeV
 | -4231 MeV
W.G. Lynch and M.B. Tsang PLB 830, 137098 (2022)

## Slide 25: Applying constraints from neutron stars
What happens when you combine such Symmetry Energy constraints with symmetric matter, NICER and LIGO-VIRGO constraints?
Source of constraint | M/MEarth | R (km) | 
LIGO | 1.4 |  | 
Riley J0030+0451 |  |  | 
Miller J0030+0451 |  |  | 
Riley J0740+6620 |  |  | 
Miller J0740+6620 |  |  | 
Source of constraint | M/MEarth | R (km) | 
LIGO | 1.4 |  | 
Riley J0030+0451 |  |  | 
Miller J0030+0451 |  |  | 
Riley J0740+6620 |  |  | 
Miller J0740+6620 |  |  | 
Source of constraint |  (fm-3) | PSM (MeV/fm3) | Knm
Flow (Science) | 0.32 | 10.13.0 | 
Flow (Fopi) | 0.32 | 10.12.8 | 
GMR systematics | 0.16 |  | 23030 MeV
C.Y. Tsang et al., (2023)

## Slide 26: Details of the parameterizations of symmetric matter EoS and the symmetry energy
For the symmetric matter EoS we use:
Here
The exact expressions for Ekin and Skin are include because their Taylor expansions have radii of convergence = n0 due to their branch cut singularies at n=0.
Note that Ekin and Skin are inversely proportional to the isoscalar and isovector effective masses, respectively.

## Slide 27: Results of combined Bayesian analysis for nuclear and neutron star data:
Symmetric matter pressure
Symmetry energy
Symmetry pressure
Trends in nuclear data are well reproduced
C.Y. Tsang et al., (2023)
Talks by Kumar and Tsang
Tue. Morning

## Slide 28: Results for Astrophysical Data
NS radii are also very well reproduced. The value for the deformability, , is larger but statistically consistent with the measured value: .
The result is an EoS that can used to predict properties of matter at <20. properties.
We are entering a new era of interdisciplinary research into the properties of dense matter.
C.Y. Tsang et al., (2023)
Talks by Kumar and Tsang
Tue. Morning

## Slide 29: Difference between our NS EoS and that of Huth et al.,
Huth et al. chose the prior distribution given by EFT. That prior distribution completely excludes the stiffer EoS’s preferred by the flow data at 0.5</0<1.5 included in the Bayesian Analysis. Without their restrictive prior, the results would be more similar at all densities
EFT prior
prior
post
Huth et al.,
Nature 606, 276 (2022).
C.Y. Tsang et al., (2023)
Talk by A. Le Fevre
Tue. Afternoon

## Slide 30: New constraint on isovector effective mass from flow (submitted. talk of Tommy Tsang, Mizuki Nishimura Wed.)
Measurements:
Transverse and elliptical flow for neutron rich 132Sn+124Sn, neutron-deficient 108Sn+112Sn, and stopping (varxz) in 112Sn+124Sn collisions.
Performed Bayesian analysis with the pion constraint on L as a prior distribution.
The flow values are somewhat larger for the more isospin asymmetric 132Sn+124Sn system.
The post distribution suggests a strong dependence on the effective mass difference and favors L=76 29 MeV and
Model dependence of this result?
Comparison of experiment to calculations.

## Slide 31: Exception: State of the art AMD transport code that calculates clusters dynamically
Ratios of light cluster spectra
M. Kaneko, A.Ono et al. PLB 822146681 (2021)
Transport model Symmetry energy functions
Brown for SLY L=55 agrees better with the overall symmetry energy constraints.
Describes cluster production and also the overall
density dependence of symmetry energy more poorly

## Slide 32: Summary and Outlook
The first Smetry energy at ~1.4-1.50 – an important constraint for high density neutron matter
Combining these high density constraints with constraints at low density from nuclear structure, reactions and astronomy leads to a statistically consistent picture.
Both our work and the recent work of [Huth et al, Nature 606, (2022) 275] illustrate the power of combining constraints involving nuclear reactions, nuclear structure, and neutron star observations
The second S will test models for pion production and will also focus improving the constraints obtained during the first campaign with measurements at somewhat higher densities.
R. Shane et al., NIMA 784, 513 (2015).
G. Jhang et al., JKPS 69, 144 (2016).
S. Tangwangchoren et al. NIMA 853, 44 (2017).
P. Lasko et al., NIMA 856, 92 (2017).
T. Isobe et al., NIMA 899, 43 (2018).
J. Estee et al., NIMA 944, 162509 (2019).
C.Y. Tsang et al. NIMA 959, 163477 (2020).
J.W. Lee et al., NIMA 965, 163840 (2020).
J. Barney et al., RSI 92, 063302 (2021);
G. Jhang et al., PLB 813, 136016 (2021
M. Kaneko, PLB 822, 136681 (2021)
M. Kaneko, NIM A 1039, 167010 (2022
J.W. Lee et al., Eur. Phys. J. A 58, 201 (2022).

## Slide 33: Nuclear structure problem: Cluster production
Complication: Cluster production influences the calculations of nucleon emission below E/A=400 MeV. Most current transport models don’t properly take BE of clusters with A4 into account.
This is not a large problem at high energies where the large entropies suppress the emission of such clusters. If necessary, one can either combine neutrons into clusters at low “freezeout” densities or break them up to make “coalescence invariant” neutron and proton yields, eg. for neutrons:
To go beyond this approximation, one can increase the number of species in the transport code to include light particles and heavier fragments
This is challenging because these clusters and fragments do not exist in dense matter. They are produced at <0/2 by nucleation (A<5) and spinodal decomposition (A>3).
M. Oertel, et al Rev. Mod. Phys. 89, 015007-1 (2017)
Notes: FOr lack of time, I will present the data in terms of the double ratio that i discussed earlier. At energies less than 40 MeV check this value, we have an increasing contribution from light bound clusters such as d,t 3h3 and alphas that the imquand theory does not predict accurately beaue it deos not have the correct QM binding energies for example. So to extend our comparison to theory to lower energies we combined both theory and experiment in coalexcenc invariant neutron adn proton spectra. we see that we have small enough error bards to distinquish the effets of the effective masses. Let’ s see what other calculations provide
Add key for regions of effective mass.

## Slide 34
https://groups.nscl.msu.edu/hira/cosmic/SpiritTPC.html
Masanori Kaneko
JungWoo Lee
Genie Jhang
Jon Barney
Justin Estee
Suwat Tangwangchoen
RenSheng Wang
Tommy Tsang
Yan Zhang
Pawel Lasko