## Slide 1: Silicon Strip Intermediate Tracker for RHIC-sPHENIX Experiment
RIKEN/RBRC
Itaru Nakagawa
INTT

## Slide 2: RHIC-PHENIXの将来計画とスケジュール
2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
PHENIX |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 |  |  | sPHENIX |  |  |  |  |  |  |  |  |  |  |  |  | 
 |  |  |  |  |  |  |  |  |  |  |  | EIC |  |  |  | 
開発・建設
実験
Today

## Slide 3: sPHENIX 実験室の状況
IR
Assembly Hall
2021年7月
建設のため準備が整った

## Slide 4: Ultimate Mission of sPHENIX
Jet and heavy flavor as proves
CD-0 Sept 2016
OPA CD-1 Review May 2018
Construction Phase Jul 2019
Ready for Beam Jan 2023
Completion of the Quark Gluon Plasma Study at RHIC !!
Notes: Office of Project Assessment (OPA)

## Slide 5: What’s new about sPHENIX
4p, but incomplete for jet without HCAL
4p & -1<h<1 with HCAL
Designed to be ideal detector for Jet
Limited acceptance to measure Jet.

## Slide 6: sPHENIX Construction
Babar Magnet
October 20, 2021

## Slide 7: sPHENIX量産と建設状況
EM Cal Assembly ~78%
HCal
Outer HCal Assembly
TPC Outer Cage
MVTX Staves @CERN

## Slide 8: Intermediate Silicon Tracker (INTT)
Barrel Assembly
シリコンラダー
実機56台.。BNLで82台組み上げ済み。台湾で40台組み上げ予定。
INTTバレル仮組み

## Slide 9: INTTシリコンラダー
Tracking System: MVTX+INTT+TPC
Type-A
Type-B
2. FPHX Chips
HDI
Wirebonding
(silicon-FPHX)
FPHX Chip
Type-A
Type-B
1. Silicon strip sensors
INTT Full Ladder
3. HDI Readout Cable
Wirebonding
(FPHX-HDI)

## Slide 10
FVTX | INTT
ディスクタイプの形状 ４層構造 シリコンストリップセンサー 合計100万読み出しチャンネル FPHX読み出しチップ（消費電力が65mWと小さい) | バレルタイプの形状 2層構造 シリコンストリップセンサー 合計37万読み出しチャンネル FPHX読み出しチップ
INTTは読み出しチャンネル数などFVTXを超えないように設計

## Slide 11: Silicon Strip Sensors (Hamamatsu)
Type-A
Type-B
A: 16 mm (B:20 mm)
9.984mm
Single cell
f-direction
Single cell geometry (active region):
128 strips (better resolution in f-direction)
Strip width = 78 mm
f-length = 78 mm x 128 strips x 2 cells =19.97 mm
z-length = A: 16 mmx 8=128 mm
B: 20 mm x5=100 mm
128mm
Type-A (8 x 2 cells)
Type-B (5 x 2 cells)
100mm
19.97mm

## Slide 12: Silicon Strip Sensors (Hamamatsu)
Type-A
AC readout pads
probe trace
40 % of pad
60 % of pad are secured for wirebonding
Type-B
Strip orientation
Read out orientation

## Slide 13: FPHX Chip/Produced by FNAL
Specification | FPHX
ADC/channel | 3 bits
Operation Voltage | 2.5V
Power Consumption | 64 mW
Number of channels | 128
Data Transmission | 200Mbps
Developed for Forward Vertex Detector for PHENIX at Fermi Lab.
Each FPHX chip integrates and shapes (CR-RC) signals, digitizes and sparsifies the hit channels each beam crossing (106ns beam clock), and serially pushes out the digitized data.
Front end
(Analog section)

## Slide 14: FPHX Chip (Analog Section)
Tracking System: MVTX+INTT+TPC
+
_
Vref
Shaper
Integrator
Input
Comp
Vth0
Comp
Vth1
Comp
Vth7
Programmable Thresholds
Disc outputs
3-bit ADC
T-peak ~ 60 ns (programmable)
Program gain and Vref
128 channel
46, 50, 60, 67, 85, 100, 150, or 200 mV/fC
60 ns peak time (rt- pgmbl)
3—bit ADC (th-pgmbl)
Optimized to 1 to 2.5 pf input
115e + 134e/pf
~ 70 to 140 mW/ch (dep. gain)
At max. input transistor bias of 38uA: 115e + 134e/pF
Silicon strip + readout line capacitance ~ 6pF
Predicted noise ~ 115e + 134e/pF * 6pF ~ 1,000e
Signal ~ 20,000e
Expected S/N ~ 20/1

## Slide 15: FPHX Chip (Digital Section)
Analog
Data Processing
Data Output
20 bit Serial data word structure

## Slide 16: High Density Interconnect (HDI) Cable
Tracking System: MVTX+INTT+TPC
INTT HDI (Manufactured by Yamashita co., Japan)
Digital GND pad
 | FVTX | INTT
# Layers | 7 | 7
Length [cm] | ~20 | 40
Pitch [mm] | 40 | 60
M20-7910342R
2 Thermistats 3pin readout
Analog GND pad
Analog and digital pads are used for grounding in case we need them.
The design is based on HDI’s of FVTX. The cable length is longer, but the pitch of the signal line is somewhat relaxed 60 [mm] instead of 40 [mm].
FVTX HDI
Dedicated Bias connectors each side
Hirose DF18 connector
Data, slow control, FPHX power
Thermistats
Notes: Conservative copy of FVTX HDI.
Length, pitch are difference.
New themostat readout.
2 bias lines is new feature. Even one line dies, the other one can survive.

## Slide 17: High Density Interconnect (HDI) Cable
7 cupper layers
High signal line density in 2 layers
Solid ground outer layers to shield signal layers
L1
L2
L3
L4
L5
L6
L7
Analog GND
Clock Signal
Bias
Power
Signal
Digital GND
Thermistats & RF
Cross Section of HDI

## Slide 18: 読み出しケーブルの制約
読み出しケーブルは狭く曲がった空間を走らせなければならない。
INTT
読み出しケーブル
図3 INTTバレルのモックアップ
所狭しと検出器が敷き詰められるコライダー検出器の宿命
TPC
7000ch+GND+LV+cooling tube+etc…

## Slide 19: Bus Extenderの要求性能
19
High speed: 200Mbps with Zdiff = 100 W
Density : 62 LVDS pairs with 130 mm line width
Size : 120 cm x 5 cm (length x width)
Flexibility to fit the tight space
L4 : VD＋VA
L3 （AGND）
L2 signal
L1 (DGND）
Layer structure
DGND
Signal
AGND
VD + VA
LCP
LCP
Cu
LCP
1.3 m
glue
glue
Cu
Cu
Notes: 1.1meter

## Slide 20: Bus Extender 開発体制
R&D
RIKEN (Physicist)
REPIC (Mech. Engineer)
TIRI (Elec. Engineer)
Print Denshi Kenkyujo Co. (Factory)
Concept, Testing
Simulation
Fabrication
Design

## Slide 21: Bus Extender 信号層試作１号
120um
M. Tsuruta, Shiina, Rikkyo Univ. Deploma Thesis (2018)
1.3m
Shorting btwn signal lines

## Slide 22: 泥沼開発地獄の幕開け〜LCPの採用〜
ポリィミド(PI)に比べて伝送損失が小さい新素材

## Slide 23: LCPの心許ない剥離強度
LCP
Cu
Glue
LCP
1/5
積層工程を工夫していくらかは改善したが、不十分
Polyamide -> Liquid Cristal Polymer (LCP)

## Slide 24: 劣悪なスルーホール品質
Work in progress
Yield Rate is ~ 25%
Through hole
Good
NG
Good
NG

## Slide 25: ブレークスルー〜ボンディングシート〜
LCP
Cu
Glue
LCP
なんとLCPが破断
これまでポリィミドと同じボンディングシートを採用していたが、LCP専用に開発されたボンディングシートを使ってみた
ポリィミドかそれ以上の剥離強度を達成！
スルーホールメッキの品質問題が解決！
一気に実用化への道が拓けた

## Slide 26: バスエクステンダの伝送性能
入射損失：1/3程度
反射損失：1/10程度
近藤崇氏【設計ノート23】三次試作品の電気特性評価
クロストーク：1/100程度
400MHz

## Slide 27: 量産の足枷 〜パターニング工程〜
歩留まりの原因となるので、ゴミや埃の混入をしらみつぶしに探す
勘弁してくれ…

## Slide 28: 視覚検査の必要性
不具合箇所を裸眼で見つけるのはやはり限界があり、精度を上げるには何らかのアシストが必要。

## Slide 29: 検査ジグの開発
検査ジグ初号機(2021年11月撮影)
見逃し率は1シートあたり一箇所程度に改善
パターン認識による異常検知アプリを独自開発
顕微鏡カメラ

## Slide 30: Carbon Fiber Stave
Liquid Cooling Tube
Rohacell
Fabricated in Asuka co. @ Japan
Prototype
CFC
Leak Test @ BNL by Rob Pisani, June 2020
☞ Confirmed good leak tight performance
Almost ready to fix the design to be final.
SYSTEM | Composite Model | Thermal Conductivity
INTT | NT91500-520S | 340W/mK
FVTX | K13C2U | 180W/mK
☞ High thermal conductivity

## Slide 31: CFC Stave Production
Silicon sensor
Stave
FPHX
HDI
INTT Ladder
Stave production
@ Asuka co.(Japan)
シリコンセンサーを載せる側の平面度<100mmを要求
工夫により、最近では９割以上を達成。
初期の歩留まり率は５割以下

## Slide 32: Conversion Cable
Design work by Dan Cacace (2021/July)
FVTX FPC Bus Extenders
INTT FPC Conversion Cable
(prototype-I)
INTTmCoax Conversion Cable
(prototype-II)
14~20 different FPC designs needed for INTT if we follow the FVTX way ➜ Not affordable.
Started prototyping using the m-coax technology. Requires only 1 design thanks to its flexibility in transverse direction.
Expected similar signal transmission performance with the FPC solution.
Prototype-II test is ongoing.
Preproduction and Production in 2022.
m-coax Cable : AWG44-UL11130 (Hitachi)
Connector : XSL series (KEL)

## Slide 33: Ladder Component Production
Bus Extender
HDI
Silicon
Stave
Nara Women’s University
RIKEN

## Slide 34: Ladder Assembly in BNL
Barrel Assembly
Assembled Ladders

## Slide 35: INTT assembly in Taiwan
Assembly Unit : Half-ladder
Assembly procedures :
  Chips glued on HDI then wire-bonded
  Sensors glued on HDI then wire-bonded
  Encapsulate all wire-bonds
  Thermal cycles modules
Ladder assembly procedures :
  2 half-ladder glued on stave
INTT assembly family on Gantry
Pick up tools
Sample tray
Assembly tray
Taiwan Silicon Detector Facility (TSiDF)
Cheng-Wei Shih
Rong-Shyang Lu
Wei-Che Tang
Ou-Wei Cheng
Kai-Yu Cheng
Lian-Sheng Tsai
Jenny Huang

## Slide 36: INTT Group
Nara Women’s Univ.
Takashi Hachiya, Maya Shimomura, Miu Morita, Mika Shibata, Runa Takahama, Yumika Namimoto, Yuka Sugiyama
RIKEN, RBRC
Yasuyuki Akiba, Itaru Nakagawa, Genki Nukazuka
Rikkyo Univ.
Hikaru Imai, Genta Nakano, Yusuke Nakamura
TIRI
Takashi Kondo
JAEA
Shoichi Hasegawa
National Central Univ.
Chia-Ming Kuo, Kai-Yu Cheng, Cheng-Wei Shih, Wei-Che Tang
National Taiwan Univ.
Rong-Shyang Lu, Lian-Sheng Tsai, Jenny Huang, Ou-Wei Cheng
BNL
Rachid Nouicer, Dan Cacace,
Connor Miraval, Robert Pisani,
Steven Andrade, Donald Pinelli,
Antonio Vederosa, Sioan Zohar
Purdue Univ.
Wei Xie, Milan Stojanovic, Han-Sheng Li
日本、アメリカ、台湾から 9 機関計 32 名
Sioan Zohar
Ou-Wei Cheng
Yuka Sugiyama
Genta Nakano
Yusuke Nakamura
NEW MEMBERS

## Slide 37: ビームテスト
2018@FNAL
2019@FNAL
2021@東北大ELPH
３回のビームテストを経て、ほぼ想定通りの性能を確認

## Slide 38: まとめ
2023年に実験開始するsPHENIX実験に向けてINTTシリコン検出器を建設中
日本/台湾/米国の共同開発研究
リスクを最小限に抑えるため、シリコンセンサーや読み出しチップは保守的技術を採用
高信号線密度・長尺バスエクステンダーは最新技術で独自開発
現在までにほぼ2/3のラダー組み立てが完了。バレルの建設に入る。

## Slide 39: Backup Slides

## Slide 40: INTTプロジェクトのコンセプト
Minimum Risk
Technology
Cost
Schedule
Man Power
過去理研主導でPHENIXのピクセル検出器の開発を行ったが、開発を始めてから建設まで１０年を要した。sPHENIX稼働は2023年を予定しており、実質その半分の５年で建設まで完了しなければならない。

## Slide 41: PHENIX FVTX検出器
米ロスアラモス国立研究所とニューメキシコの大学が中心になり開発、建設。
INTTは原則PHENIX検出器群で稼働したFVTXをsPHENIX用に作り変えるのをコンセプトとする。
FVTXは衝突点前後方を覆う、ディスクタイプのシリコンセンサー。
FVTX
FVTX

## Slide 42
FVTX | INTT
ディスクタイプの形状 ４層構造 シリコンストリップセンサー 合計100万読み出しチャンネル FPHX読み出しチップ（消費電力が65mWと小さい) | バレルタイプの形状 ４層構造 シリコンストリップセンサー 合計100万以下読み出しチャンネル FPHX読み出しチップ
INTTは読み出しチャンネル数などFVTXを超えないように設計

## Slide 43: INTT Silicon Tracker
sPHENIX
INTT Silicon Tracker

## Slide 44
Executive Summary of INTT Components
Ladder
CC
BEX
HDI
SSS
ROC
SSS
HDI
BEX
CC
SSS
SSS
Silicon module
Silicon module
Data
Data
1.2 m Bus Extender (BEX) Preproduction
HDI Production
Silicon Production
FPHX Production
Conversion Cable (CC) Pre-Production
Stave Production
Notes: 44
Le titre de l’expose est:

## Slide 45: Ladder Component Production
Bus Extender
HDI
Silicon
Stave

## Slide 46: Ladder Assembly System
Taiwan
Assembly
BNL
Assembly
HDI
silicon
stave
Japan
Production

## Slide 47: Silicon Ladder Assembly in Taiwan
CMS HGCal Assembly
Chia-Ming Kuo Cheng-Wei Shih Lian-Sheng Tsai
Wei-Che Tang Rong-Shyang Lu Janny Huang
Chia-Ming Kuo Cheng-Wei Shih Lian-Sheng Tsai
Wei-Che Tang Rong-Shyang Lu Janny Huang

## Slide 48: Ladder Assembly & Silicon Test in Taiwan
Chia-Ming Kuo Cheng-Wei Shih Lian-Sheng Tsai
Wei-Che Tang Rong-Shyang Lu Janny Huang
Chia-Ming Kuo Cheng-Wei Shih Lian-Sheng Tsai
Wei-Che Tang Rong-Shyang Lu Janny Huang
Chia-Ming Kuo Cheng-Wei Shih Lian-Sheng Tsai
Wei-Che Tang Rong-Shyang Lu Janny Huang

## Slide 49: Conventional Technology
FPHX Readout Chip
Developed for PHENIX FVTX
3 bits ADC
65 mW/chip
…
High Density Inter Connect
Silicon Sensor
Readout Chip
Assembly