## Slide 1: パイ測定と対称エネルギー
Department of Physics
Kyoto University
Tetsuya MURAKAMI
Pion Ratios and ESYM

## Slide 2: 状態方程式を語るときに Useful Notations

## Slide 3: Summary of NUSYM11 at Smith College

## Slide 4: Ｎeutron skin thickness measurements by Zenihiro et al. PhD thesis 2011 PRC82, 054607 (2010)
S=33.0±1.1 MeV
L=67.0±12.1 MeV

## Slide 5
Au+Au
?
MSU
RIBF
GSI
Isospin diffusion, n-p flow
Pion production
Xiao, et al., arXiv:0808.0186 (2008)
Reisdorf, et al., NPA 781 (2007) 459.
S=33.0±1.1 MeV
L=67.0±12.1 MeV
Ksym=-148±124 MeV

## Slide 6: According to Bao-An’s calculation from NPA 708 (2002) 365.

## Slide 8: Possible Probe for symmetry energy
p+-p- ratio
Proton-neutron ratio
Light ion ratio (t-3He)
Particle flow of pions, protons, neutrons and light ions

## Slide 9: HIMAC Pion Experiments

## Slide 10: Experimental Setup
50cm
θlab
Beam
Target
Range Counter
Multiplicity Array
Ion Chamber
Target
Multiplicity Array
Vacuum
Air
Vacuum
Target : In ~ 390 mg/cm2
Typical Intensity : ~ 107 ppp
Range Counter : 14 layers (+2) of Sci.
measured angle (θlab) : 30, 45, 60, 75, 90, 120 degree
solid angle : 10 msr
Beam | 28Si | 132Xe
Energy(AMeV) | 400, 600, 800 | 400
Notes: About our experimental setup.
Beam is 28Si,
intensity is about 10 to 7th (pawer) particles per spil
and beam energies are 400, 600, 800 MeV/nucleon
Target is In , thickness is 390 mg/cm2 located in the vacuum.
We use 3 type counters located in the air.
First one is “Pion Range Counter”.
This is composed of 14 layers of scintillators.
Particles enter from this direction.
These two are for trigger and this little big scintillator is for veto of through charged particles.
There are 11 counters between trigger and veto counters, which measure the range of particles.
Measured angles are 30,45,60,75,90, and 120 degrees in the laboratory frame
Solid angle is 10 msr
Second one is Multiplicity Array. This is composed of 60 scintillators Which is set in cylindrical shape around the beam duct.
We want to know the impact parameter information using this counter but analysis is not finished.
3.Ion Chamber measures beam intensity
From next slide, I explain the analysis procedure of pions.

## Slide 11: Beam Energy Dependence : Si
log scale π-/π+
Erapπ (MeV)
400 MeV
600 MeV
800 MeV
● 45deg
■ 60deg
▼ 90deg
○ 120deg
Slopes depend on Beam Energy
Fitting : C*X-a
slope α:
400 : (4.5±0.5)×10-1
600 : (3.2±0.5)×10-1
800 : (2.0±0.5)×10-1
log scale π-/π+
log scale π-/π+
Notes: This is the mid rapidity frame.
Horizontal axis is pion kinematic energy in mid rapidity frame and vertical axis is pion ratio in log scale.
I put the every angle data by beam energy.
circle is 45deg data, square is 60deg, triangle is 90deg, and open triangle is 120deg.
We can see some dependence in beam energy.
Slope of data point is decrease with beam energy
When we fit the data with exponential function.
we got the slope parameter like this
When we compare between 400 and 800 MeV data,
slope parameter is twice as high.
We think that the ratio at high energy is almost one and then the ratio at low energy is different between three data.

## Slide 12: N/Z dependence : Si and Xe beam
slope α Si + In : (4.5±0.5)×10-1 Xe+In :(11.0±0.8)×10-1
□ 30deg
● 45deg
■ 60deg
▲ 75deg
Xe + In 400 MeV
Si + In 400 MeV
Erapπ (MeV)
Erapπ (MeV)
log scale π-/π+
log scale π-/π+
Fitting : C*X-a
● 45deg
■ 60deg
▼ 90deg
○ 120deg

## Slide 13: The integrated-yield ratio
Sum the data point
like this formula
Si+In
Xe+In

## Slide 14: Now we are almost ready for new pion measurements from 129,132,136Xe on CsI reactions at 400 MeV/u . CsI ~130Xe : <Z>=54 <N>=76 → N/Z= 1.41 129,132,136Xe N/Z=1.39-1.52

## Slide 15: Next generation experiments Wider N/Z range

## Slide 17: TPC properties
SAMURAI TPC parameters | 
Pad plane area | 1.3m x 0.9 m
Number of pads | 11664 (108 x 108)
Pad size | 12 mm x 8 mm
Drift distance | 55 cm
Pressure | 1 atmosphere
dE/dx range | Z=1-3 (Star El.), 1-8 (Get El.)
Two track resolution | 2.5 cm
Multiplicity limit | 200 (large systems absolute pion eff.)
Initial design is based upon EOS TPC, whose properties are well documented.
Isobe-san has started simulations.
GEANT simulation
132Sn+124Sn collisions at E/A=300 MeV

## Slide 19
Ｐｌｅａｓｅ ｓｔａｙ ｔｕｎｅｄ