## Slide 1: Software Update
Takashi Hachiya
RIKEN

## Slide 2: Analysis Meeting
Reported
  Calibration is almost done for the pp 200GeV production
    2days for the ladder by ladder alignment
    Others(hot&dead, offset and beam center ) are done basically.
  (Need to check the pixel hot dead made by JohnC)
    Many runs are dead in the run by run live area plot
Copy data to CCJ
  Successfully certificated.
  But due to some problem, the transfer is failed.
    RCF and CCJ guys are trying to figure out what the problem is.
P+p mini-production
  Is requested to check the stability and time consumption for re-tracking of SATrack, but not started yet.
Asked about the VTX code
  If the projected point is in the dead area, is it better not to look for the closest hit at the layer
  How much can the primary vertex be reconstructed in p + p.
    Ask Akimoto-kun to check using the data.
  FVTX group want to use the VTX hit position for the FVTX reconstruction.

## Slide 3: debug in Tracking at large DCA
Trackingにバグあり。
  |DCA|>0.5cmを測定できない問題があった。
バグの箇所を発見し、デバッグ&テストを行う
  SvxCentralTrackReco::LinkCluster中で、SvxClusterContainerによるクラスタリスト取得時、dphi=0.2を使っていたために、B0で0.5㎝(0.2*2.5㎝)のカットが入ってしまっていた。
  修正方法として、B0を検索するときだけ、1㎝になるよう、dphi=0.4に変更する。
  ただし、現在のコードでもDCA<0.4㎝において問題ないことが分かっているので、当面変更しないことにする。
SIMDCA
DCA(reco, B0)
DCA(cm)
Data:
Pi+/Pi- single simulation
Flat pT
|R| <1cm (DCA)
Current algorighm

## Slide 4: K0s and Lambda Simulation
Imput pT distribution
  MB in Au+Au (as follows:)
    K0s : average of K+ and K-
    Lambda : mT scaling from proton
    Input pT shape is obtained by fitting with expo.
  Simulation
    200k event (single particle)
    X-Y vtx: 70um sigma,
    Z: 5cm
    Phi = 2pi, |y|<0.5
    pT>1GeV/c
0.5*(K+ + K-)
Lambda(scaled)

## Slide 5: DCA distribution from Simulation
DCA distribution is not normalized
DCA shape at DCA>0.5mm is similar with data
DCA(cm)
Combined
K0s
Lambda
Ntrack generated:
K0S: 20000*10
Lambda: 20000*6
DCA
BG (5 degree)
DCA(cm)

## Slide 6: DCA distribution from Simulation 2
DCA distribution is not normalized
DCA shape at DCA>0.5mm is similar with data
DCA(cm)
Combined
K0s
Lambda
Ntrack generated:
K0S: 200000*19
Lambda: 200000*18
DCA
BG (5 degree)
DCA(cm)

## Slide 7: Background study
Study how the conversion makes DCA tail.
  Photon tag by Inv-Mass, then check the DCA shape and residual shape
Use pi0 simulation
  Made by Shimomura-san
Inv-Mass of electron pairs and phiv
岡田さんスライド

## Slide 8: Mee from Pi0 simulation
Single pi0 simulation
  Made by Shimomura-san
Inv-Mass of electron pairs and phiv
  Phiv : angle between the B-field vector and a normal vector of the decay plane. In case of conversion, should be 0. but pi in the plot. I think this is due to the reverse field.
  60<Mee<120MeV, the peak is made by the conversion on the VTX
  No Dalitz peak around Mee~0 compared with run2 and run4
Mee
Mee(phiv<2)
Mee(Dalitz)

## Slide 9: Low mass Mee
Data in run4
Kajihara-kun’s Dthesis
Dalitz
BP conversion
Total
Dalitz
Conv at B0
Conv at B1
Conv at B2
Conv at B3
R(cm)
Mee(GeV/c2)
Pi0sim
Pi0sim
Pi0sim

## Slide 10: DCA distribution in pi0 sim.
DCA distribution
  Nentry is Npair. Should be Ntrack
DCA(cm)
DCA(cm)
e-
DCA
DCA(Dalitz)
DCA(60-120MeV)
e+
DCA
DCA(Dalitz)
DCA(60-120MeV)

## Slide 11: 解釈
秋葉さんスライド

## Slide 12: Mee and phiv in data
Check Mee and phiv using data (electron ntuple)
  The analysis code for the ntuple and compactCNT is made
Clear peak at 60<Mee<120MeV

## Slide 13: 2D DCA in DATA
エントリ数はペア数。 Track数にする必要あり。
e+
Mee(60-120MeV) & phiv>3
e-
Mee(60-120MeV) & phiv>3

## Slide 14: まとめと今後
Simulation生成について
  MBのpT分布を使って、Simulationを作成した。
  Pi0のpT分布をFitして、Simulationを作成する予定
Conversion解析について
  Meeを解析し、ConversionをTagできることが分かった。
    Ntuple, CompactCNTの両方で解析コードを作成
  TagしたConversionを使って、
    DCA分布、dphi, dz分布をチェックし、データ中でBGを削除できるカットを探す。
  ConversionトラックをデータにEmbedすることで同様の解析を行う。
    Conversion BGのYieldをStudyする。
    Sashaが来ているのでEmbeddingの方法を聞く