## Slide 1
Reaction Plane Calibration
Add 12 event classes for SVX detector.  Done
Generate calibration parameters for Q-vector and flattening run by run  on-going
  Status of centrality calibration
    The calibrations for run-343031-347349 are good to use.
    The calibrations for remained runs will be ready end of this week.
Check the calibration parameters are useful.
  Generate QA plots
    <cos nY> and <sin nY> plot run-by-run
    <cos nY> and <sin nY> plot seg-by-seg

## Slide 2
QA : <cos nY>, <sin nY> (SVX) Distribution Run349373-9000
Centrality Centrality Centrality Centrality Centrality Centrality
Centrality Centrality Centrality Centrality Centrality Centrality
<cos(2(YSVX(S)))>
<sin(2(YSVX(S)))>
<cos(3(YSVX(S)))>
<sin(3(YSVX(S)))>
Psi -SVX (S)
Psi -SVX (N)
Psi -SVX (SN)
<cos(n(YSVX))>
<sin(n(YSVX))>
Scatter plots between <cos nY>, <sin nY> and centrality.
Average of cos and sin term should be zero.

## Slide 3
QA : <cos nY>, <sin nY> (SVX-SN) Distribution Run-by-Run
run number
<cos(2(YSVX(SN)))>
<cos(3(YSVX(SN)))>
<sin(2(YSVX(SN)))>
<sin(3(YSVX(SN)))>
v2
v3
v2
v3
cos term
sin term
Average of cos and sin term should be zero.

## Slide 4
QA : <cos nY>, <sin nY> (SVX-SN) Distribution Segment-by-Segment
segment number
<cos(2(YSVX(SN)))>
<cos(3(YSVX(SN)))>
<sin(2(YSVX(SN)))>
<sin(3(YSVX(SN)))>
v2
v3
v2
v3
cos term
sin term
Average of cos and sin term should be zero.
Run349679
9000
9005
9010
9020

## Slide 5
QA : <cos nY>, <sin nY> (BBC-SN) Distribution Segment-by-Segment
segment number
<cos(2(YSVX(SN)))>
<cos(3(YSVX(SN)))>
<sin(2(YSVX(SN)))>
<sin(3(YSVX(SN)))>
v2
v3
v2
v3
cos term
sin term
Average of cos and sin term should be zero.
0.5
- 0.5
Run349679

## Slide 6
calibration parameter の決定に使用した segment 以外の segment をQAした場合、 <cos nPsi>, <sin nPsi> 分布が ０にならない。
Calibration parameter は segment ごとに生成する必要がある。
  Q-vector : parameter[27][6][20][10][4]  129,600 parameters (Float)
  Flattening : parameter[39][6][20][10][16]  748,800 parameters (Float)
   Total 4MB/segment
  Total number of segments : ~8,000 segments  Total 32GB
       データベースに入れないでテキストファイルのまま使用する。
Results from QA Testing for Calibration Parameters

## Slide 7
To Do List
1) 全 segment に対する calibration parameters の生成。
  Centrality の calibration の結果を待たずに開始する。
  QA plot のチェック。
  今週末までに終わる予定。
  Calibration parameter generate 用 code の commit。
2) ASCI file から読み込むように Re-calibrator module の変更と CVS commit。
3) 解析コードの開発
  charged hadron
  electron
蜂谷
黒澤

## Slide 8
BACKUP SLIDES

## Slide 9
Reaction Plane (calculated by using cluster hits of all layers for SVX)
  Number of event class for the calibration of Q-vector is 27.
    Qx_mean, Qx_RMS, Qy_mean, Qy_RMS : number of parameters is 4 for each class.
  Number of event class for the calibration of flattening parameter is 39.
    A1 ~ A8 and B1 ~ B8 : number of parameters is 16 for each class.
  Number of class for centrality is 20 (5 % step, totally 20 class).
  Number of class for z-vertex is 10 (2 cm step, totally 10 class).
  Number of harmonics is 6.
Parameters in calibration database
  Q-vector : parameter[27][6][20][10][4]  129,600 parameters (Float)
  Flattening : parameter[39][6][20][10][16]  748,800 parameters (Float)
  Above calibration parameter set will be prepared run by run.
Calibration Parameters for Reaction Plane

## Slide 10
Reaction Plane Class for Q-Vector and Flattening Calibration
 | South |  |  |  |  |  |  | North |  |  |  |  |  | 
eta region | -3<=eta<-2.5 | -2.5<=eta<-2 | -2<=eta<-1.5 | -1.5<=eta<-1 | -1<=eta<-0.5 | -0.5<=eta<0 | 0<=eta<0.5 |  | 0.5<=eta<1 | 1<=eta<1.5 | 1.5<=eta<2 | 2<=eta<2.5 | 2.5<=eta<3 | all eta
SVX | 0 | 1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12
 | north | south | north + south |  |  |  |  |  |  |  |  |  |  | 
MPC | 13 | 14 | 15 |  |  |  |  |  |  |  |  |  |  | 
BBC | 16 | 17 | 18 |  |  |  |  |  |  |  |  |  |  | 
SMD | 19 | 20 | 21 |  |  |  |  |  |  |  |  |  |  | 
 | subsample1 | subsample2 | subsample3 | subsample4 | total |  |  |  |  |  |  |  |  | 
CNT | 22 | 23 | 24 | 25 | 26 |  |  |  |  |  |  |  |  | 
 | South |  |  |  |  |  |  | North |  |  |  |  |  | 
eta region | -3<=eta<-2.5 | -2.5<=eta<-2 | -2<=eta<-1.5 | -1.5<=eta<-1 | -1<=eta<-0.5 | -0.5<=eta<0 | 0<=eta<0.5 |  | 0.5<=eta<1 | 1<=eta<1.5 | 1.5<=eta<2 | 2<=eta<2.5 | 2.5<=eta<3 | all eta
SVX | 0 | 1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12
 | 13 |  |  |  |  |  |  |  |  |  |  |  |  | 
 |  |  |  |  | 14 |  |  |  |  |  |  |  |  | 
 | 15 |  |  |  |  |  |  |  |  |  |  |  |  | 
 |  |  |  |  |  | 16 |  |  |  |  |  |  |  | 
 | 17 |  |  |  |  |  | 18 |  |  |  |  |  |  | 
 | 19 |  |  |  |  |  |  |  | 20 |  |  |  |  | 
 | 21 |  |  |  |  |  |  |  | 21 |  |  |  |  | 
 | 22 |  |  |  |  |  |  |  |  | 23 |  |  |  | 
 | 24 |  |  |  |  |  |  |  |  | 24 |  |  |  | 
 | north | south | north + south |  |  |  |  |  |  |  |  |  |  | 
MPC | 25 | 26 | 27 |  |  |  |  |  |  |  |  |  |  | 
BBC | 28 | 29 | 30 |  |  |  |  |  |  |  |  |  |  | 
SMD | 31 | 32 | 33 |  |  |  |  |  |  |  |  |  |  | 
 | subsample1 | subsample2 | subsample3 | subsample4 | total |  |  |  |  |  |  |  |  | 
CNT | 34 | 35 | 36 | 37 | 38 |  |  |  |  |  |  |  |  | 
Totally 27 class for Q-vector calibration
Totally 39 class for Flattening calibration
 generate 39 reaction planes
Q-Vector calibration
Flattening calibration

## Slide 11
Event Plane Resolution (RUN 349679-9005)
VTX S
Vs
VTX N
eta gap 1
VTX S
Vs
VTX N
eta gap 2
VTX SN
Vs
BBC SN
eta gap 1
<cos(2(FA-FB))>
<sin(2(FA-FB))>
Need to generate calibration parameters for all segments?

## Slide 12
QA : <cos nPsi>, <sin nPsi> (SVX-S) Distribution Segment-by-Segment
segment number
<cos(2(FSVX(S)))>
<cos(3(FSVX(S)))>
<sin(2(FSVX(S)))>
<sin(3(FSVX(S)))>
v2
v3
v2
v3
cos term
sin term
Average of cos and sin term should be zero.
Need to generate calibration parameters for all segments.

## Slide 13
QA : <cos nPsi>, <sin nPsi> (SVX-N) Distribution Segment-by-Segment
segment number
<cos(2(FSVX(N)))>
<cos(3(FSVX(N)))>
<sin(2(FSVX(N)))>
<sin(3(FSVX(N)))>
v2
v3
v2
v3
cos term
sin term
Average of cos and sin term should be zero.
Need to generate calibration parameters for all segments.

## Slide 14
Centrality
Centrality
<cos(2(FA - FB))>
<cos(3(FA - FB))>
svx(SN)-bbc(S)
svx(SN)-bbc(N)
svx(SN)-bbc(SN)
bbc(S)-bbc(N)
svx(SN)-bbc(S)
svx(SN)-bbc(N)
svx(SN)-bbc(SN)
bbc(S)-bbc(N)
Psi Correlation for v2 and v3 (AuAu 200GeV 100 Segments)

## Slide 15
pT (GeV/c)
pT (GeV/c)
Raw V3 Distribution (AuAu 200GeV run349206-9000)
Centrality : 25%